| Product Tender Master File |
| --- |
| Product Name: | Welland Barrier Film® (Non-Sterile Wipes) |
| Legal Manufacturer: | Welland Medical Limited Hydehurst Lane Crawley West Sussex RH10 9AS United Kingdom |
| Manufacturing Facility: | Flexible Medical Packaging Ltd. Hightown, Whitecross Industrial Estate, Lancaster, LA1 4XQ |
| Notified Body: | LRQA UK 1 Trinity Park Bickenhill Birmingham B37 7ES United Kingdom |
| Notified Body Number: | 0088 |
| Product Description: | Welland Barrier Film (Non-Sterile Wipes) is an impregnated non-woven material contained in a sealed sachet, presented in a carton quantity of 50 or 30 units. Each wipe is impregnated with a non-sting, silicone-based formulation which, when applied by hand, creates a film on the skin. The film dries in seconds by the evaporation of solvents, producing a breathable membrane which, in turn, provides a suitable surface for the application of adhered dressings and medical devices. |
| Figure 1: Welland Barrier Film (Non-Sterile Wipes) 50 wipe carton quantity |
| Indications for Use: | Welland Barrier Film (Non-Sterile Wipes) is intended to protect human skin from the effects of faecal material, urine and the damage that may be caused by the frequent application and removal of adhesive materials. |
| Single Use/Reusable: | Single Use |
| Classification Under the MDD 93/42/EEC | European Union Class I Rule 1 |
| Product numbers: | WBF050 (50 individually sealed wipes) WBF030 (30 individually sealed wipes) |
| Latex Statement: | Welland Barrier Film (Non-Sterile Wipes) is not made with natural rubber latex. |
| Listing of Main Components: | Hexamethyldisiloxane Cyclomethicone (Decamethylcyclopentasiloxane) Dow Corning MQ-1600 Solid Resin Non-woven tissue material |
| Listing of Primary Packaging Materials: | Sachet material - Paper/Foil/Polyethylene 50 sachets per carton (WBF050) 30 sachets per carton (WBF030) |
| GMDN codes | 58978 |
| GMDN Description | Synthetic-polymer liquid barrier dressing, non-sterile |
| Shelf Life: | 3 years |
| Coatings/ Materials of animal Origin/ Medicinal / Other Substances: | Not applicable |
| Biocompatibility Data: | Cytotoxicity study concluded that the product showed no evidence of causing cell lysis or toxicity |
| Environmental Statement: | Highly flammable. However, small volume of solvents evaporates quickly after opening sachet and wipes can be disposed of in normal household waste. Wipes should not be flushed down the toilet. |

| Listing of Referenced Documentation |
| --- |
| Description | Comment(s) |
| Declaration of Conformity | DOC 084 |
| Quality Management System: | Certificate No: LRQ 0946192 |
| Instructions for Use: | PPR-INS-WF5 (WBF050) PPR-INS-WF3 (WBF030) |