| Product Tender Master File |
| --- |
| Product Name: | Welland Barrier Spray (Bag-on-valve) |
| Legal Manufacturer: | Welland Medical Limited Hydehurst Lane Crawley RH10 9AS United Kingdom |
| Manufacturing Facility: | Flexible Medical Packaging Ltd Hightown Whitecross Industrial Estate Lancaster LA1 4XQ United Kingdom |
| Notified Body: | LRQA UK 1 Trinity Park Bickenhill Lane Birmingham B37 7ES United Kingdom |
| Notified Body Number: | 0088 |
| Product Description: | Welland Barrier Spray (Bag-on-valve) is provided in an aerosol spray format. Each aerosol can contains a fluid comprising a blend of volatile silicones and a film-forming silicone resin. The ‘Bag on valve’ (BOV) system involves the fluid being contained within an inner bag and the propulsion of the aerosol is effected by a compressed gas (nitrogen) between the bag and the can. Depressing the actuator allows the fluid to form the aerosol spray. A major advantage of this system is that it delivers the aerosol spray at ambient temperature, avoiding the cold shock associated with hydrocarbon propelled aerosols. Figure 1: Welland Barrier Spray (Bag-on-valve) |
| Indications for Use: | Welland Barrier Spray (Bag-on-valve) is intended to form a film to protect human skin from the effects of faecal material, urine and the damage that may be caused by the frequent application and removal of adhesive materials. |
| Single Use/Reusable: | Single Use |
| Classification Under the MDD 93/42/EEC | European Union Class I Rule 1 |
| Product numbers: | WBS050 |
| Latex Statement: | Welland Barrier Spray (Bag-on-valve) does not contain natural rubber latex. |
| Listing of Main Components: | Hexamethydisiloxane Cyclomethicone (Decamethylcyclopentasiloxane) Dow Corning MQ-1600 Solid Resin |
| Listing of Primary Packaging Materials: | Welland Barrier Spray (Bag-on-valve) is provided in an aluminium can, with a polypropylene cap, nylon moving parts and nitrogen propellant. |
| GMDN code | 58978 |
| GMDN Description | Synthetic-polymer liquid barrier dressing, non-sterile |
| Shelf Life: | 3 Years |
| Coatings/ Materials of animal Origin/ Medicinal / Other Substances: | Not applicable |
| Biocompatibility Data: | Cytotoxicity study showed no evidence of causing cell lysis or toxicity |
| Environmental Statement: | Pressurised container. Protect from sunlight and do not expose to temperatures exceeding 50°C. Do not pierce or burn, even after use. Keep away from sources of ignition. Keep out of reach of children. No smoking. |

| Listing of Referenced Documentation |
| --- |
| Description | Comment(s) |
| Declaration of Conformity | DOC 126 |
| Quality Management System: | Certificate No: LRQ 0946192 |
| Instructions for Use: | PPR-INS-WBS |