| Product Tender Master File |
| --- |
| Product Name: | Medical Adhesive Remover Spray |
| Legal Manufacturer: | Welland Medical Limited Hydehurst Lane Crawley West Sussex RH10 9AS United Kingdom |
| Manufacturing Facility: | Flexible Medical Packaging Ltd. Hightown Whitecross Industrial Estate Lancaster LA1 4XQ |
| Notified Body: | LRQA UK 1 Trinity Park Bickenhill Lane Birmingham B37 7ES United Kingdom |
| Notified Body Number: | 0088 |
| Product Description: | Medical Adhesive Remover Spray is presented in a 50ml can, and the active ingredient is sprayed onto the edge of the adhesive flange of an ostomy bag to reduce the bond strength which makes it easier to remove the flange from the skin. The Bag-on-valve system consists of an aerosol valve with a welded bag. The adhesive remover is placed inside the bag while the propellant is filled in the space between the bag and the can. Figure 1: Medical Adhesive Remover Spray |
| Indications for Use: | Medical Adhesive Remover Spray is intended to remove adhesive from the skin without causing a stinging effect or leaving a residue. |
| Single Use/Reusable: | Single Use |
| Classification Under the MDD 93/42/EEC | European Union Class I Rule 1 |
| Product numbers: | WAB050 |
| Latex Statement: | Medical Adhesive Remover Spray is not made with natural rubber latex. |
| Listing of Main Components: | Hexamethyldisiloxane Octamethyltrisiloxane Cyclomethicone (Decamethylcyclopentasiloxane) |
| Listing of Primary Packaging Materials: | Aluminium can with polypropylene cap and nylon moving parts. Nitrogen propellant |
| GMDN code | 10033 |
| GMDN Description | Adhesive tape remover |
| Shelf Life: | 3 Years |
| Coatings/ Materials of animal Origin/ Medicinal / Other Substances: | Not applicable |
| Biocompatibility Data: | Mild reactivity |
| Environmental Statement: | Pressurised container. Protect from sunlight and do not expose to temperatures exceeding 50°C. Do not pierce or burn, even after use. Keep away from sources of ignition. Keep out of reach of children. No smoking |

| Listing of Referenced Documentation |
| --- |
| Description | Comment(s) |
| Declaration of Conformity | DOC 127 |
| Quality Management System: | Certificate No: LRQ 0946192 |
| Instructions for Use: | PPR-INS-WAB |