| Product Tender Master File |
| --- |
| Product Name: | Medical Adhesive Remover Wipes |
| Legal Manufacturer: | Welland Medical Limited Hydehurst Lane Crawley West Sussex RH10 9AS United Kingdom |
| Manufacturing Facility: | Flexible Medical Packaging Ltd. Hightown, Whitecross Industrial Estate, Lancaster. LA1 4XQ |
| Notified Body: | LRQA UK 1 Trinity Park Bickenhill Birmingham B37 7ES United Kingdom |
| Notified Body Number: | 0088 |
| Product Description: | Medical Adhesive Remover Wipes are wipes impregnated with a silicone based adhesive remover. Each wipe is contained in a sealed sachet. |
| Figure 1: Medical Adhesive Remover Wipes, 50 wipe carton quantity |
| Indications for Use: | Medical Adhesive Remover Wipes are intended to remove adhesive from the skin without causing a stinging effect or leaving a residue. |
| Single Use/Reusable: | Single Use |
| Classification Under the MDD 93/42/EEC | European Union Class I Rule 1 |
| Product numbers: | WAD050 (50 individually sealed wipes) WAD060 (60 individually sealed wipes) |
| Latex Statement: | Medical Adhesive Remover Wipes are not made with natural rubber latex. |
| Listing of Main Components: | Hexamethyldisiloxane Octamethyltrisiloxane Cyclomethicone (Decamethylcyclopentasiloxane) |
| Listing of Primary Packaging Materials: | Sachet – Paper / Polyethylene / Aluminium / Surlyn |
| GMDN codes | 10033 |
| GMDN Description | Medical adhesive remover, non-sterile |
| Shelf Life: | 3 Years |
| Coatings/ Materials of animal Origin/ Medicinal / Other Substances: | Not applicable |
| Biocompatibility Data: | Medical Adhesive Remover Wipes passed a cytotoxicity test with ‘mild reactivity’ |
| Environmental Statement: | Highly flammable. However, small volume of solvents evaporates quickly after opening sachet and wipes can be disposed of in normal household waste. Wipes should not be flushed down the toilet. |

| Listing of Referenced Documentation |
| --- |
| Description | Comment(s) |
| Declaration of Conformity | DOC 083 |
| Quality Management System | Certificate No: LRQ 0946192 |
| Instructions for Use | PPR-INS-WAD |